## Slide 1: Hardware and Interface PCB block diagram

## Slide 2
DC Accuracy +/-5mV @10V
Motor Controller Not Shown
HW and Interface PCB Prototype Schematic and Assy Diagrams

## Slide 3
Reed Switch, open->close step response

## Slide 4
100%
30%
Waiting
7%
Tank Level step response to 3-speed servo motor control

## Slide 5
Tank Level step response to 3-speed servo motor control
Zoomed into 3sec wait period
TP Uncertainty

## Slide 6: Where to measure resistance to determine “has switched” PASS/FAIL
LEVEL
Full
Empty
The Target Test Point Level (TP) will be set to ½ the level measurement uncertainty after 3 second settling time, prior to the specified upper bound of the Switch Zone.
REQUIREMENT: The Target Test Point uncertainty shall not exceed ???”.
To be defined

## Slide 7: Tank Level Response at various motor speeds
Using the Pololu MC18V7 PWM motor controller with Vs set to 24Vdc, The  Level was measure for 30 seconds at various percent of max speed (100% duty cycle) for both FILL and DRAIN at near EMPTY and near FULL.
The response has a minor shift at each case but is basically linear down to about 5% resulting in fill rate of about 0.1”/min where the control becomes unstable by 4% as shown in the ‘Zoomed In Plot.
Without doing an extensive fluid analysis, this response is assumed to be adequate for the MLOI application.
Data from mloi:\PM_Folder\_3 Develop\Design Calculations.xlsx sheet Tank. 3/4/2025 R. Ales

## Slide 8: Breadboard LT3092 Current Source Drift over 15 hours
One Plot (marker)

## Slide 9: Current source stability over 15 hrs, Start and End trace, 2000 seconds each trace
Time 14h26min – 15hrs ChA Blue, ChB Red
Mean 1.469V (14.78ma) 1.462V (14.66ma)
Time 0 -26min ChA Blue, ChB Red
Mean 1.468V (1.477ma) 1.463V (14.67ma)

## Slide 10
Motor
Controller
Pololu
18V7
Left
Right
DUT
Sensor
x4
DataQ
DI-2108
Buffer/
Scaler
x8
Laser
24Vdc
SMPS
24Vdc
Instrument
Power
Pump
4A DC Motor
LV Win11
Workstation
Interface PCB
Custom Unit
14ma
I-source
x8
Connector
USB Hub
TANK
NOT TO SCALE
To Laser & buffers
Keyance
LK-G2000
=
CONNECTOR EXAMPLE

## Slide 11
Motor
Controller
Pololu
18V7
Left
Right
DUT
Sensor
x4
DataQ
DI-2108
Buffer/
Scaler
x8
+5Vdc
USB Hub
Laser
Keyance
LG-K
24Vdc
SMPS
24Vdc
Instrument
Power
Pump
4A DC Motor
LV Win11
Workstation
Interface PCB
Custom Unit
14ma
I-source
x8
Connector

## Slide 12
-
+
-
+
Ain 0
Ain 1
Do-6
Do-5
Do-4
Tri-state
Buffer
Motor
Controller
On/Off
Fwd/Rev
Left
Right
DUT
Sensor
x4
DataQ
DI-2108
x4
+5Vdc

## Slide 13
To USB Hub
DATAQ
DI-2108
Interface
Circuit
Clip to
OLS DUT
To 24Vdc
R1
R2
R3
R4
R5
R6
R7
R8
R10
R9
U1A
U2
U1B
U3
1
3
2
1
3
2
1

## Slide 14
DATAQ
DI-2108
Interface
Circuit
Clip to
OLS DUT
To 24Vdc
R1
R2
R3
R4
R5
R6
R7
R8
R10
R9
U1A
U2
U1B
U3
1
3
2
1
3
2
1
1K Ref Resistor
100 Ref Resistor

## Slide 15
Read App
Resistances Here

## Slide 16
100
200
Spec 1 Fill Hi
Spec 1 Fill Lo
Switch Zone
Target TP
(Test point)
Target TP Uncertainty
Test Set Point
Switch Point
RNG_Stop
100
200
Spec 1 Drain Hi
Spec 1 Drain Lo
Switch Zone
Target TP
(Test point)
Target TP Uncertainty
Test Set Point
Switch
Point
RNG_Stop
LEVEL
Full
Empty

## Slide 17
Numeric
Outputs
Test Protocol
Current State
Ch A & Ch B
Resistance
Level Filling Shown
(opposite of ATP Spec}
FULL
EMPTY

## Slide 18
STATUS

## Slide 20
1 Add a “Snapshot folder to the project
2 Slide the folder to be included to “Always Include” List
3 Press the ‘+’ to add the folder to the Destination.
4 The destinations will show in the ‘Set destination” drop down so link each folder in the ‘project folder’ tree to its path in the destination dropdown.
5 In Advance, enable the Debugger as a bug workaround suggested by NI.

## Slide 30
MLOI Tester
Workstation
Instrument
USB Hub
Test Tank
Test Tank Plate
Level Datum
LK-G3000
Laser Head
LK-G3000
Control Unit
18V7 Motor
Controller
Instrument
24Vdc Power
Pump
24Vdc Power
DataQ & PCB
Data Acquisition

## Slide 31
Mitutoyo
Depth Gage
Tank Plate
Zero Datum
12” Probe
Tank Plate
Zero Datum
Probe touching Datum
Yellow Zero Button

## Slide 32
1st OLS Position
Adjustment Handle
LCD Readout

## Slide 33
Program Running
Indicator (Black)
Menu bar

## Slide 34
DATAQ DI-2108 Bug 1
I am collecting two channels of analog input of a DI-2108 in a LabVIEW program based on the DATAQ sample VI at a rate of 50ms. I have found a situation where the byte stream gets out of sequence when I change the load via mechanical connection. I am trying to measure the resistance of the DUT (a reed switch-based level sensor) driven by @15ma fixed current sources, isolated from the DI-2108 and the signal divided to be in the 0-10VDC range. On switch the DUT resistance, occasionally the DI-2108 data stream will get bit shifted where the noise bit moves from the LSB to somewhere closer to the MSB. It is like the DI-2108 loses track of the start of the scan list. see attached.
Not sure if it is related but I was not able to successfully create a LV event to trigger when the buffer became not empty, so I configured the DI-2108 to fill at least 16 bytes in the buffer but usually receiving a 32 byte packet every LV loop scheduled at 50ms. In this configuration I get 1 or 2 null packets, NO DATA (0 bytes) available at the buffer out of about 40 minutes.
What could cause my data stream to get out of sync when I switch step resistor values? I have to believe any step change at 15ma scale at the analog input could impact the communications port and byte stream? How to recover and resyc the byte stream to the start of the scan list?

## Slide 35
GOOD Notice the changing nibble is in the least significant digit and the hex codes for CHA and CH B are nearly the same.
BAD Notice the changing nibble is in the 3rd digit from RHS and hex codes for CHA and CH B by 0x8000.
LabVIEW
Buffer Output
@ probe ③
stop
encode 0
slist 0 0
slist 1 1
filter 0 1
filter 1 1
srate 600
ps 2
dec 100
deca 1
nop
DI 2108 Config
Executed in Loop every 50ms
LabVIEW running on Win 11
DATAQ DI-2108 Bug 1